OFFICIAL (CLOSED) FOR TENDER ONLY

DATE | REV DESCRIPTION
SEP 2025 | - ISSUED FOR CORRIGENDUM 2
*ALL ATTACHMENTS TO THE LIGHT POLE/ BOLLARD SUCH AS LIGHT
FIXTURES, CAMERAS, BANNERS, ETC. SHALL BE REMOVABLE/ ALL MOUNTING COLLARS/ BRACKETS
REPOSITIONABLE WITHOUT COMPROMISE TO THE GALVANISING, (LIGHTS, CAMERAS ETC) SHALL BE
STRUCTURAL INTEGRITY OF THE POLE. I.E. NO POST INSTALL, MANUFACTURED WITH NO VISIBLE FIXINGS
DRILLING, CUTTING, ETC. SHALL NOT BE ALLOWED. (BOLTS & NUTS, SCREWS ETC) AND SHALL BE
MANUFACTURED & SUPPLIED BY THE
NO VISIBLE CABLE- ALL CABLES SHALL BE CONTAINED WITH CONTRACTORS LIGHTPOLE VENDOR.
CONDUIT/ POLE/ BRACKET ASSEMBLY.
TYPE 'xS1'
I 3 HEADED ADJUSTABLE POLE TOP LUMINAIR
DF SECURITY CAMERAS
ACTOR
PROPOSED CAMERA MOUNTING PLATE (BY LIGHT POL
SIZE & DIMENSION SUBJECT TO CAMERA'S SPECIFICATIO [
ACOUSTICS CONSULTANT
; ALPHA ACOUSTICS ENGINEERING PTE LTD
Ss 300 BEACH ROAD
ZZ #03-00 THE CONCOURSE
alpha SINGAPORE 199555
TEL: +65 62992466 FAX: +65 62990297
LIGHTING CONSULTANT
DP LIGHTING PTE LTD
6 RAFFLES BOULEVARD
i 9 GALVA Te & DPL #02-249 MARINA SQUARE
/NO. OF ETCH PRIMER SINGAPORE 039594 |
Thi IN OEGER Ts ENSU FACADE a —eee
o VDER-COATING FINISH QUALITY ANE DP FACADE PTE LTD
S JRABILITY (COLOUR TO SO'S SELECTIO 6 RAFFLES BOULEVARD
id 1O FLAKING OF ANY KIND (POWDERCOATI MKQDPF to2-249 marina SQUARE
CORRODED METAL ETC.) OVER POLE LIFE-SP SINGAPORE 039594
TEL: +65 6338 3988 FAX: +65 6337 9989
LANDSCAPE CONSULTANT
PROPOSED POLE WITH 150MM OR SUITABLE/ FIT FO SOs BOULEVARD
Sr aise ea BIDPG sez210 anna sauare
SINGAPORE 039594
TEL: +65 6338 3988 FAX: +65 6337 9989
INTERIOR DESIGNER
DP DESIGN PTE LTD
6 RAFFLES BOULEVARD
& DP J 402-249 MARINA SQUARE
SINGAPORE 039594
TEL: +65 6338 3988 FAX: +65 6337 9989
QUANTITY SURVEYOR
AECOM COST CONSULTING AND
) PROJECT MANAGEMENT (S) PTE LTD
A=COM 300 BEACH ROAD #03-00, THE CONCOURSE
SINGAPORE 199555
PROPOSED POST-HOT-DIPPED GAVANISED STEEL SERVICE TEL: +65 62992466 FAX: +65 62990297
DOOR COMPARTMENT COMPLETE WITH INVISIBLE LOCKING MECHANICAL & ELECTRICAL ENGINEER
MECHANISM SHALL BE OF A SIZE SUITABLE TO ACCESS ALL
ELECTRICAL/ COMPONENTS/ DEVICES, ELECTRICAL Meinhardt (Singapore) Pte Ltd
SUPPLY Al JUNCTION BOX HOUSED WITHIN. aneinsvgpr 168 Jalan Bukit Merah, #09-01, Surbana One
CAMERAS BY ALL SHALL BE COMPLY WITH LTA'S REQUIREMENT SINGAPORE 150168

TEL: +65 6273 5255 FAX: +65 6274 0788

CIVIL, STRUCTURAL & GEOTECHNICAL ENGINEER

PROPOSED ALUMINIUM BASE PLATE COVER,
NO EXPOSE SCREWS. Meinhardt (Singapore) Pte Ltd

, MIEINAFARDT 168 Jalan Bukit Merah, #09-01, Surbana One
EL I SINGAPORE 150168
Ww | | TEL: +65 6273 5255 FAX: +65 6274 0788
Meese, I PROJECT ARCHITECT
J A r J Es | 4
J 3 | 4 A ga al
8 . a POWER INCOMING —— | “ | . DP ARCHITECTS PTE LTD
oe if » 4 FORLIGHTING | a baal e 6 RAFFLES BOULEVARD
ONDUIT —— DIRECT TOLIGHTHEAD < 42 . ii #02-249 MARINA SQUARE
ISION “REFER TO M8&E | ~amataaatae = th ‘ 4 ; A oe SINGAPORE 039594
BLE) DOCUMENTATION. 1 aa ; sd 4 4 , ” A - TEL: +65 6338 3988 FAX: +65 6337 9989
7 | a4 y saa y Fos "= APPROPRIATE CONCRETE BASE FOOTING (TYPE
O "mesa eal ce pe ses ee == er 4 AND DIMENSIONS) SHALL BE DETERMINED BY THE
SEPARATE INCOMING POWER A ~ CONTRACTOR'S STRUCTURAL P.E./ QP WITH
A J, a a
AND DATA CABLE & CONDUIT TO 4 A 4 J RELEVANT CERTIFICATION. >) Ss T A
CCTV POINT TO M&E COSULTANT a | 44 Sscuitareemas duainememe: ti
DETAIL AND DOCUMENTATION. Technology Agency
= POWER INCOMING ®)
FOR SECURITY p> O Ce.
BY CONTRACTOR'S ELECTRICAL ERR Fuca a
P.E.WITH RELEVANT oss .
CERTIFICATION.
PANG LU KIT
Programme Director (CMPB)
Project no.
D2011-00370-170
3 HEADED ADJUSTABLE POLE TOP LUMINAIRE FOR OUTDOOR PLAZA Presb
(1 CONSTRUCTION OF 2 BLOCKS OF 13-
\ 2 /- Sealetias STOREY OFFICE BUILDINGS WITH A
BASEMENT AND 1 BLOCK OF 10-
STOREY MULTI-STOREY CARPARK AT
HILLVIEW LINK
Drawing title

TYPICAL LIGHTING DETAIL NO. 1

Initial Date
Designed: DPL SEP 2025 _ | Filename: =
Drawn: DPL SEP 2025 | Scale: AS SHOWN

Drawing no.

D2011-00370-170/LTG/DT/001

Serial no.

THIS DRAWING IS THE PROPERTY OF DSTA. IF FOUND, PLEASE RETURN TO DSTA
BUILDING AND INFRASTRUCTURE PROGRAMME CENTRE,
1 DEPOT ROAD, DEFENCE TECHNOLOGY TOWER A, SINGAPORE 109679.
NOTE: REPRODUCTION OF DRAWING WITHOUT THE WRITTEN PERMISSION OF DSTA BI
OFFICIAL (CLOSED) ALL WORKS AND SCOPE MENTIONED AND INDICATED ON THE DRAWINGS, SCHEDULE, CUTSHEET AND SPECIFICATIONS SHALL BE IS STRICTLY PROHIBITED. ANY UNAUTHORIZED REPRODUCTION OR POSSESION
BY CONTRACTOR UNLESS OTHERWISE STATED SHALL BE DEALT WITH UNDER THE OFFICIAL SECRETS ACT.